## Readme
Testing HACU
This document describes system configuration and test items(and expected results) for testing HAUC.
2019.10.07 | Miyamoto Kazuyuki | kazuyuki@nec.com

## SystemConfig
System Configuration
vSwitch0
Mirror_vswitch
ISCSI_vswitch
iscsi1
UC_VM_Network_vswitch
vma1
MG-SIP1
A
B
C
X
MG-SIP2
Physical
Switch1
Physical
Switch2
G
ESXi-A
iSCSI Software Adapter
Management Network
vSwitch0
Mirror_vswitch
ISCSI_vswitch
UC_VM_Network_vswitch
D
E
F
Y
iscsi2
vma2
MG-SIP3
MG-SIP4
iSCSI Software Adapter
Management Network
ESXi-B
VM
VM Kernel Port
vSwitch
Physical NIC

## Test Items
Test items and Expected results
| Test items | Expected results
| Disconnect A | iSCSI cluster Mirroring is disconnected and mdw/mdnw shows Caution (Yellow).
| Reconnect A | On iSCSI cluster, Mirror Recovery runs and mdw/mdnw shows Normal (Green).
| Disconnect B | On vMA cluster, vma2 MG-SIP monitor resources show error (Red) and groups failover from vma2 to vma1.
| Reconnect B | No changes.
| Disconnect C | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/vma2.
| Reconnect C | vma1 and iscsi1 boot automatically.
| Disconnect X | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/vma2, and vma1/iscsi1 boot automatically.
| Reconnect X | No changes.
| Disconnect A, B, C and X | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/vma2.
| Reconnect A, B, C and X | iscsi1 and vma1 boot automatically.
| Disconnect D | iSCSI cluster Mirroring is disconnected and mdw/mdnw shows Caution (Yellow).
| Reconnect D | On iSCSI cluster, Mirror Recovery runs and mdw/mdnw shows Normal (Green).
| Disconnect E | On vMA cluster, vma1 MG-SIP monitor resources show error (Red) and groups failover from vma1 to vma2.
| Reconnect E | No changes.
| Disconnect F | On vMA cluster, genw-nic-link shows Error (Red), vma2 and iscsi2 shutdown. Then all groups failover from iscsi2/vma2 to iscsi1/vma1.
| Reconnect F | vma2 and iscsi2 boots automatically.
| Disconnect Y | On vMA cluster, genw-nic-link shows Error (Red), vma2 and iscsi2 shutdown. Then all groups failover from iscsi2/vma2 to iscsi1/vma1, and vma2/iscsi2 boot automatically.
| Reconnect Y | No changes.
| Disconnect D, E, F and Y | On vMA cluster, genw-nic-link shows Error (Red), vma2 and iscsi2 shutdown. Then all groups failover from iscsi2/vma2 to iscsi1/vma1.
| Reconnect D, E, F and Y | iscsi2 and vma2 boot automatically.
| Disconnect G | All groups get active on both vma1/iscsi1 and vma2/iscsi2.
| Reconnect G | vma2 and iscsi2 shutdown and all groups keep on running on vma1/iscsi1. Then vma2/iscsi2 boot automatically.
| Graceful Shutdown ESXi-A | ESXi-A gets down. All groups failover from vma1/isci1 to vma2/iscsi2.
| Boot ESXi-A | ESXi-A starts.
| Shutdown ESXi-B | ESXi-B gets down. All groups failover from vma2/isci2 to vma1/iscsi1.
| Boot ESXi-B | ESXi-B starts.
| Reoot ESXi-A | iscsi2 becomes active and MG-SIP1, 2 register to ESXi-B. ESXi-A comes back up and iscsi2 mirrors to iscsi1.
| Reoot ESXi-B | iscsi1 becomes active and MG-SIP3, 4 are registered to ESXi-B. ESXi-B comes back up and iscsi1 mirrors to iscsi2.