## Readme
Testing HACU
This document describes system configuration and test items(and expected results) for testing HAUC.
2019.10.07 | Miyamoto Kazuyuki | kazuyuki@nec.com

## SystemConfig
System Configuration
vSwitch0
Mirror_vswitch
ISCSI_vswitch
iscsi1
UC_VM_Network_vswitch
vma1
MG-SIP1
A
B
C
X
MG-SIP2
Physical
Switch1
Physical
Switch2
G
ESXi-A
iSCSI Software Adapter
Management Network
vSwitch0
Mirror_vswitch
ISCSI_vswitch
UC_VM_Network_vswitch
D
E
F
Y
iscsi2
vma2
MG-SIP3
MG-SIP4
iSCSI Software Adapter
Management Network
ESXi-B
VM
VM Kernel Port
vSwitch
Physical NIC

## Test Items
Test items and Expected results
| Test items | Expected results
| Disconnect A | iSCSI cluster Mirroring is disconnected and mdw/mdnw shows Caution (Yellow).
| Reconnect A | On iSCSI cluster, Mirror Recovery runs and mdw/mdnw shows Normal (Green).
| Disconnect B | On vMA cluster, vma2 MG-SIP monitor resources show error (Red) and groups failover from vma2 to vma1.
| Reconnect B | No changes.
| Disconnect C | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/vma2.
| Reconnect C | vma1 and iscsi1 boot automatically.
| Disconnect X | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/vma2, and vma1/iscsi1 boot automatically.
| Reconnect X | No changes.
| Disconnect A, B, C and X | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/vma2.
| Reconnect A, B, C and X | iscsi1 and vma1 boot automatically.
| Disconnect D | iSCSI cluster Mirroring is disconnected and mdw/mdnw shows Caution (Yellow).
| Reconnect D | On iSCSI cluster, Mirror Recovery runs and mdw/mdnw shows Normal (Green).
| Disconnect E | On vMA cluster, vma1 MG-SIP monitor resources show error (Red) and groups failover from vma1 to vma2.
| Reconnect E | No changes.
| Disconnect F | On vMA cluster, genw-nic-link shows Error (Red), vma2 and iscsi2 shutdown. Then all groups failover from iscsi2/vma2 to iscsi1/vma1.
| Reconnect F | vma2 and iscsi2 boots automatically.
| Disconnect Y | On vMA cluster, genw-nic-link shows Error (Red), vma2 and iscsi2 shutdown. Then all groups failover from iscsi2/vma2 to iscsi1/vma1, and vma2/iscsi2 boot automatically.
| Reconnect Y | No changes.
| Disconnect D, E, F and Y | On vMA cluster, genw-nic-link shows Error (Red), vma2 and iscsi2 shutdown. Then all groups failover from iscsi2/vma2 to iscsi1/vma1.
| Reconnect D, E, F and Y | iscsi2 and vma2 boot automatically.
| Disconnect G | All groups get active on both vma1/iscsi1 and vma2/iscsi2.
| Reconnect G | vma2 and iscsi2 shutdown and all groups keep on running on vma1/iscsi1. Then vma2/iscsi2 boot automatically.
| Graceful Shutdown ESXi-A | ESXi-A gets down. All groups failover from vma1/isci1 to vma2/iscsi2.
| Boot ESXi-A | ESXi-A starts.
| Shutdown ESXi-B | ESXi-B gets down. All groups failover from vma2/isci2 to vma1/iscsi1.
| Boot ESXi-B | ESXi-B starts.
| Reoot ESXi-A | iscsi2 becomes active and MG-SIP1, 2 register to ESXi-B. ESXi-A comes back up and iscsi2 mirrors to iscsi1.
| Reoot ESXi-B | iscsi1 becomes active and MG-SIP3, 4 are registered to ESXi-B. ESXi-B comes back up and iscsi1 mirrors to iscsi2.

## Old_backup
# | TEST | RESULT | DATE
1 | Remove Connection A from module 0 and 1 of the FT server | ESXi A shows Mirroring NIC’s down iSCSI cluster shows mdnw1 and mdw1 in error and lankhb2 has an error. Phones and Applications on ESXi A and B still work.
2 | Reconnect | On iSCSI cluster, Mirror Recovery runs and mdw/mdnw/lankhb shows Normal (Green).
3 | Remove Connection B from module 0 and 1 | ESXi A shows iSCSI network NIC’s down. ESXi B loses iSCSI connection. iSCSI cluster shows lankhb3 in error VMA cluster Moves The UC VM’s that were running on ESXi-B to ESXi-A
4 | Reconnect | ESXi-B recovers iSCSI connection
5 | Remove Connection C from module 0 and 1 | Connection to ESXi A is lost. iscsi2 becomes active iscsi1 shows down in the iSCSI cluster. VMA cluster shows VMA01 down and VMA02 registers the UC VM’s running on A move to ESXi-B.
6 | Reconnect | vma1 and iscsi1 boot automatically.
7 | Remve Connection X | On vMA cluster, genw-nic-link shows Error (Red), vma1 and iscsi1 shutdown. Then all groups failover from iscsi1/vma1 to iscsi2/VMA02, and vma1/iscsi1 boot automatically.
8 | Reconnect | No changes.
9 | Remove Connection D from module 0 and 1 | ESXi B shows Mirroring NIC’s down iSCSI cluster shows mdnw1 and mdw1 in error and lankhb2 has an error
10 | Reconnect | On iSCSI cluster, Mirror Recovery runs and mdw/mdnw/lankhb shows Normal (Green).
11 | Remove Connection E | ESXi B shows the iSCSI network NIC’s down and iSCSI storage inactive. iSCSI cluster show lankhb3 in error. VMA moves The UC VM’s running on B to ESXi A
12 | Reconnect | No changes.
13 | Remove Connection Y | On vMA cluster, genw-nic-link shows Error (Red), VMA02 and iscsi2 shutdown. Then all groups failover from iscsi2/VMA02 to iscsi1/vma1, and VMA02/iscsi2 boot automatically.
14 | Reconnect | No changes.
15 | Remove Connection F | Connection to ESXi B is lost. iscsi1 is active iscsi2 shows down in the iSCSI cluster. VMA cluster shows VMA02 down and VMA01 registers the UC VM’s running on B to ESXi-A
16 | Reconnect | VMA02 and iscsi2 boots automatically.
17 | Remove Cable G | iscsi1 and iscsi2 both become active. All UC VM’s register to ESXi-A so all 8 are running on A and All UC VM’s register to ESXi-B so all 8 are running on ESXi-B also
18 | Reconnect Cable G | iscsi2 powered off UC VM’s continue running on ESXi-A Then iscsi2 Power on. Then after some time iSCSI shows available on both ESXi-A and B then VMA02 powers off and then powers on.
19 | Remove Connection A, B, C & X | Connection is lost to ESXi-A, iscsi2 becomes active. The UC VM’s running on ESXi-A register to ESXi-B
20 | Reconnect A, B, C & X | Return to normal
21 | Remove Connection D, E, F & Y | Connection is lost to ESXi-B, The UC VM’s running on ESXi-B register to ESXi-A
22 | Reconnect D, E, F & Y | The the UC VM’s remained on ESXi-A and iSCSI 01 mirrored to 02
23 | Reboot ESXi-A | iscsi2 becomes active and MG-SIP01-04 register to ESXi-B ESXi-A comes back up and iscsi2 mirrors to iscsi1
24 | Reboot ESXi-B | MG-SIP5-8 register to ESXi-A ESXi-B comes back up and iscsi1 mirrors to iscsi2
25 | Graceful Shutdown ESXi-A & B | After Power on iSCSI and VMA clusters start normally and the UC VM’s normally on A register to ESXi-A and the UC VM’s normally on B register to ESXi-B
26 | Boot ESXi-A and B at the same time | Both Hosts shutdown and both come up and the proper machines register to each host and function properly.